## All sorted
Plate Number | Row Number (EA Software) | Sample Name | Standard Wrap (GH or Wes) | Filename | Sample Type | Mass (mg) | N (area) | C (area) | N (wt.%) | C (wt.%) | Standard Concentration N (wt.%) | Standard Concentration C (wt.%) | Std amount (mg N) | Std amount (mg C) | N (wt.% ) GH Stds (edit) Rec | C (wt.% ) GH Stds (edit) Rec | C/N use GH stds (molar) Rec | Average N (wt.%), STDEV, RelaErr | Average C (wt.%), STDEV, RelaErr | C/N mol avg stdev, RelaErr
2 | 119 | AB10B-H |  | 03242022121 | UNK | 2.89 | 4683344.5 | 64187588 | 9.9934 | 49.358 |  |  |  |  | 10.0641 | 49.3379 | 5.7171 | 10.238 | 49.9156 | 5.689
6 |  | AB10B-H2 |  | 05022022019 | UNK | 2.34 | [8 empty] | 10.1259 | 51.2836 | 5.9062 | 0.24955 | 1.1895 | 0.23254
6 |  | AB10B-H3 |  | 05022022021 | UNK | 2.79 | [8 empty] | 10.5239 | 49.1253 | 5.4437 | 2.4375 | 2.383 | 4.0875
2 | 118 | AB10B-S |  | 03242022120 | UNK | 2.15 | 4354334 | 50199152 | 12.5516 | 52.4272 |  |  |  |  | 12.5897 | 52.0262 | 4.8192
2 | 117 | AB11B-H |  | 03242022119 | UNK | 1.89 | 3166257 | 40318792 | 10.6573 | 48.4555 |  |  |  |  | 10.4672 | 47.6988 | 5.3143
2 | 116 | AB11B-S |  | 03242022118 | UNK | 2.35 | 4713070 | 51762492 | 12.3626 | 49.3885 |  |  |  |  | 12.4542 | 49.0599 | 4.5938
2 | 115 | AB12B-H |  | 03242022117 | UNK | 2.21 | 3637487 | 48491980 | 10.3424 | 49.3512 |  |  |  |  | 10.259 | 48.9167 | 5.5605
2 | 114 | AB12B-S |  | 03242022116 | UNK | 2.98 | 5831126 | 70699728 | 11.9102 | 52.5424 |  |  |  |  | 12.1218 | 52.6486 | 5.0651
5 |  | AB1B-H |  | 04292022018 | UNK | 3.28 | [8 empty] | 8.9032 | 50.6428 | 6.6334
5 |  | AB1B-S |  | 04292022009 | UNK | 2.18 | [8 empty] | 10.2944 | 48.5084 | 5.4952
2 | 137 | AB2B-H |  | 03242022139 | UNK | 3.21 | 4836075 | 73179440 | 9.2713 | 50.4303 |  |  |  |  | 9.3525 | 50.5733 | 6.306
5 |  | AB2B-S |  | 04292022010 | UNK | 2.06 | [8 empty] | 10.2723 | 54.3536 | 6.1706
4 |  | AB3B-H |  | 04282022055 | UNK | 3.41 | [8 empty] | 10.5982 | 52.2142 | 5.7454
4 |  | AB3B-S |  | 04282022054 | UNK | 2.92 | [8 empty] | 9.8051 | 55.2105 | 6.5665
4 |  | AB4B-H |  | 04282022053 | UNK | 2.91 | [8 empty] | 10.5548 | 51.0601 | 5.6415
4 |  | AB4B-S |  | 04282022052 | UNK | 2.88 | [8 empty] | 11.5669 | 52.5902 | 5.3022
4 |  | AB5B-H |  | 04282022051 | UNK | 2.34 | [8 empty] | 10.0386 | 48.7405 | 5.6622 | 10.0107 | 49.1637 | 5.7274
5 |  | AB5B-H2 |  | 04292022057 | UNK | 4.45 | [8 empty] | 10.0258 | 49.0931 | 5.7104 | 0.037762 | 0.46258 | 0.075225
5 |  | AB5B-H3 |  | 04292022058 | UNK | 5.09 | [8 empty] | 9.9677 | 49.6575 | 5.8097 | 0.37721 | 0.94089 | 1.3134
4 |  | AB5B-S |  | 04282022050 | UNK | 1.11 | [8 empty] | 11.7658 | 50.5458 | 5.0099
4 |  | AB6B-H |  | 04282022049 | UNK | 3.53 | [8 empty] | 9.6898 | 50.9885 | 6.1365
4 |  | AB6B-S |  | 04282022048 | UNK | 3.21 | [8 empty] | 10.7535 | 51.2591 | 5.5589 | 11.1118 | 52.737 | 5.5345
5 |  | AB6B-S2 |  | 04292022050 | UNK | 2.55 | [8 empty] | 11.4182 | 54.8622 | 5.6033 | 0.33535 | 1.8868 | 0.083694
5 |  | AB6B-S3 |  | 04292022051 | UNK | 2.39 | [8 empty] | 11.1638 | 52.0897 | 5.4413 | 3.018 | 3.5777 | 1.5122
4 |  | AB7B-H |  | 04282022047 | UNK | 3.39 | [8 empty] | 8.2628 | 48.4588 | 6.8393
4 |  | AB7B-S |  | 04282022046 | UNK | 2.63 | [8 empty] | 12.7285 | 48.7957 | 4.4706
2 | 124 | AB8B-H |  | 03242022126 | UNK | 3.2 | 5857299 | 70462856 | 11.1385 | 48.7718 |  |  |  |  | 11.3386 | 48.8663 | 5.0259
2 | 123 | AB8B-S |  | 03242022125 | UNK | 3.07 | 5958800 | 68074976 | 11.8006 | 49.173 |  |  |  |  | 12.0214 | 49.2269 | 4.7754
2 | 122 | AB9B-H |  | 03242022124 | UNK | 2.7 | 4021054 | 57587868 | 9.2837 | 47.602 |  |  |  |  | 9.2683 | 47.44 | 5.9692
2 | 120 | AB9B-S |  | 03242022122 | UNK | 3.45 | 5071633 | 84771728 | 9.0196 | 54.1105 |  |  |  |  | 9.1206 | 54.4367 | 6.9604 | 9.6072 | 53.4281 | 6.4974
6 |  | AB9B-S2 |  | 05022022057 | UNK | 4.38 | [8 empty] | 9.9647 | 53.3065 | 6.2385 | 0.43663 | 0.95362 | 0.40194
6 |  | AB9B-S3 |  | 05022022058 | UNK | 2.42 | [8 empty] | 9.7363 | 52.5411 | 6.2932 | 4.5448 | 1.7849 | 6.1861
2 | 130 | AO10B-H |  | 03242022132 | UNK | 3.53 | 6440971 | 80699032 | 11.0496 | 50.416 |  |  |  |  | 11.2924 | 50.6684 | 5.2326
6 |  | AO10B-H2 |  | 05022022063 | UNK | 2.41 | [8 empty] | 10.0234 | 45.1413 | 5.252 | 10.7171 | 48.4361 | 5.27
6 |  | AO10B-H3 |  | 05022022064 | UNK | 1.54 | [8 empty] | 10.5917 | 46.4745 | 5.117 | 0.46479 | 2.478 | 0.096639
6 |  | AO10B-H4 |  | 05022022065 | UNK | 3.29 | [8 empty] | 10.896 | 49.5595 | 5.3043 | 4.3369 | 5.116 | 1.8337
6 |  | AO10B-H5 |  | 05022022066 | UNK | 4.59 | [8 empty] | 10.782 | 50.3367 | 5.4444
2 | 129 | AO10B-S |  | 03242022131 | UNK | 2.85 | 4944734 | 66168944 | 10.662 | 51.538 |  |  |  |  | 10.7677 | 51.5576 | 5.5839
2 | 128 | AO11B-H |  | 03242022130 | UNK | 2.14 | 3748584 | 48042184 | 10.9797 | 50.5158 |  |  |  |  | 10.9129 | 50.055 | 5.349
2 | 127 | AO11B-S |  | 03242022129 | UNK | 2.09 | 3902731 | 54560920 | 11.6673 | 58.397 |  |  |  |  | 11.6262 | 58.1045 | 5.8282
6 |  | AO11B-S2 |  | 05022022059 | UNK | 1.23 | [8 empty] | 9.9718 | 53.0594 | 6.2052 | 10.6293 | 54.3742 | 5.9713
6 |  | AO11B-S3 |  | 05022022060 | UNK | 2.28 | [8 empty] | 10.6517 | 53.4189 | 5.8484 | 0.61184 | 2.1172 | 0.18107
6 |  | AO11B-S4 |  | 05022022061 | UNK | 4.17 | [8 empty] | 10.397 | 53.2517 | 5.973 | 5.7561 | 3.8938 | 3.0323
6 |  | AO11B-S5 |  | 05022022062 | UNK | 3.61 | [8 empty] | 10.4999 | 54.0367 | 6.0016
2 | 126 | AO12B-H |  | 03242022128 | UNK | 0.87 | 1252513 | 16628645 | 10.4816 | 47.0106 |  |  |  |  | 9.2515 | 43.8016 | 5.5214
2 | 125 | AO12B-S |  | 03242022127 | UNK | 2.3 | 3777046 | 56604996 | 10.2872 | 54.9664 |  |  |  |  | 10.2296 | 54.7517 | 6.2417
5 |  | AO1B-H |  | 04292022019 | UNK | 3.22 | [8 empty] | 11.3928 | 47.7471 | 4.8875
5 |  | AO1B-S |  | 04292022011 | UNK | 2.71 | [8 empty] | 10.9463 | 49.3632 | 5.259
2 | 138 | AO2B-H |  | 03242022140 | UNK | 3.03 | 5050057 | 71866344 | 10.2288 | 52.4991 |  |  |  |  | 10.3412 | 52.6256 | 5.9346
2 | 139 | AO2B-S |  | 03242022141 | UNK | 3.11 | 5553218 | 69472560 | 10.8976 | 49.5019 |  |  |  |  | 11.0672 | 49.581 | 5.2245
4 |  | AO3B-H |  | 04282022066 | UNK | 3.09 | [8 empty] | 9.569 | 53.9091 | 6.5699
4 |  | AO3B-S |  | 04282022065 | UNK | 2 | [8 empty] | 11.2954 | 51.5367 | 5.3209
4 |  | AO4B-H |  | 04282022064 | UNK | 2.41 | [8 empty] | 9.9273 | 49.5575 | 5.8217
4 |  | AO4B-S |  | 04282022063 | UNK | 3.19 | [8 empty] | 11.0928 | 52.9573 | 5.5674 | 11.2774 | 53.1224 | 5.4949
5 |  | AO4B-S2 |  | 04292022052 | UNK | 3.62 | [8 empty] | 11.2591 | 54.1413 | 5.6078 | 0.19443 | 0.94724 | 0.16183
5 |  | AO4B-S3 |  | 04292022053 | UNK | 2.4 | [8 empty] | 11.4803 | 52.2685 | 5.3095 | 1.7241 | 1.7831 | 2.9451
4 |  | AO5B-H |  | 04282022062 | UNK | 3.38 | [8 empty] | 9.9321 | 49.9223 | 5.8616
4 |  | AO5B-S |  | 04282022061 | UNK | 2.35 | [8 empty] | 11.316 | 49.6845 | 5.1203
4 |  | AO6B-H |  | 04282022060 | UNK | 3.7 | [8 empty] | 10.3663 | 46.2251 | 5.2002
4 |  | AO6B-S |  | 04282022059 | UNK | 3.77 | [8 empty] | 11.4275 | 51.0192 | 5.2065
4 |  | AO7B-H |  | 04282022058 | UNK | 2.87 | [8 empty] | 8.6547 | 49.2028 | 6.6298
5 |  | AO7B-H2 |  | 04292022054 | UNK | 3.6 | [8 empty] | 9.2454 | 50.2448 | 6.3377
5 |  | AO7B-H3 |  | 04292022055 | UNK | 3.18 | [8 empty] | 9.4468 | 51.2805 | 6.3304
4 |  | AO7B-S |  | 04282022057 | UNK | 2.54 | [8 empty] | 11.0695 | 50.0757 | 5.2755
2 | 135 | AO8B-H |  | 03242022137 | UNK | 2.4 | 4356649 | 53042236 | 11.2497 | 49.5003 |  |  |  |  | 11.2842 | 49.2092 | 5.0856 | 11.1853 | 50.8824 | 5.3059
6 |  | AO8B-H2 |  | 05022022017 | UNK | 2.48 | [8 empty] | 11.09 | 51.0594 | 5.3692 | 0.097163 | 1.5921 | 0.19639
6 |  | AO8B-H3 |  | 05022022018 | UNK | 3.22 | [8 empty] | 11.1818 | 52.3785 | 5.4627 | 0.86867 | 3.1289 | 3.7013
2 | 134 | AO8B-S |  | 03242022136 | UNK | 2.06 | 3556798 | 44353536 | 10.8699 | 48.6469 |  |  |  |  | 10.7659 | 48.0652 | 5.2065
2 | 132 | AO9B-H |  | 03242022134 | UNK | 3.4 | 5466914 | 77260168 | 9.8219 | 50.1798 |  |  |  |  | 9.9676 | 50.3838 | 5.8948
2 | 131 | AO9B-S |  | 03242022133 | UNK | 3.45 | 5557419 | 81329280 | 9.8307 | 51.9759 |  |  |  |  | 9.984 | 52.2447 | 6.1025
1 | 68 | Asp acid | Wes STD | 03242022068 | STD | 1.526 | 2489839.5 | 23582192 | 10.52 | 36.09 | 10.52 | 36.09 | 0.16054 | 0.55073 | 10.2461 | 34.9824 | 3.9816
1 | 69 | Asp acid | Wes STD | 03242022069 | STD | 0.578 | 913423 | 8615672 | 10.52 | 36.09 | 10.52 | 36.09 | 0.060806 | 0.2086 | 10.328 | 35.4743 | 4.0056
1 | 70 | Asp acid | Wes STD | 03242022070 | STD | 4.696 | 8001877 | 74418160 | 10.52 | 36.09 | 10.52 | 36.09 | 0.49402 | 1.6948 | 10.5266 | 35.1494 | 3.894
1 | 71 | Asp acid | Wes STD | 03242022071 | STD | 0.513 | 834523 | 7821914 | 10.52 | 36.09 | 10.52 | 36.09 | 0.053968 | 0.18514 | 10.6936 | 36.57 | 3.9881
3 | 1 | Asp acid - Wes | Wes STD | 03302022002 | STD | 1.252 | 2051450 | 19371914 | 10.52 | 36.09 | 10.52 | 36.09 | 0.13171 | 0.45185 | 10.3415 | 35.2507 | 3.9751
3 | 2 | Asp acid - Wes | too small | 03302022003 | UNK | 0.011 | 0 | 136530.5 | 0 | 218.5894 |  |  |  |  | 33.5342 | 170.6248 | 5.9336
3 | 3 | Asp acid - Wes | Wes STD | 03302022004 | STD | 0.242 | 407274 | 3560480 | 10.52 | 36.09 | 10.52 | 36.09 | 0.025458 | 0.087338 | 11.8434 | 38.8377 | 3.8242
3 | 4 | Asp acid - Wes | Wes STD | 03302022005 | STD | 0.902 | 1584408 | 13847538 | 10.52 | 36.09 | 10.52 | 36.09 | 0.09489 | 0.32553 | 11.1794 | 35.4742 | 3.7005
3 | 5 | Asp acid - Wes | Wes STD | 03302022006 | STD | 3.862 | 6587734 | 61119704 | 10.52 | 36.09 | 10.52 | 36.09 | 0.40628 | 1.3938 | 10.5547 | 35.1753 | 3.8865
6 |  | Asp acid - Wes |  | 05022022007 | STD | 0.817 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Asp acid - Wes |  | 05022022008 | STD | 3.883 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Asp acid - Wes |  | 05022022067 | STD | 0.118 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Asp acid - Wes |  | 05022022068 | STD | 2.367 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Asp acid wes |  | 04282022067 | STD | 0.892 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | asp acid wes |  | 04282022068 | STD | 1.885 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | asp acid wes |  | 04292022067 | STD | 0.331 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | asp acid wes |  | 04292022068 | STD | 3.76 | [8 empty] | 10.52 | 36.09 | 4.0007
1 | 1 | Aspartic Acid | GH STD | 03242022002 | UNK | 7.73 | 12766832 | 119065632 | 10.0011 | 34.2402 | 10.52 | 36.09 | 0.8132 | 2.7898 | 9.9158 | 34.042 | 4.0036
1 | 2 | Aspartic Acid | GH STD | 03242022003 | STD | 5.8 | 10186280 | 95516024 | 10.52 | 36.09 | 10.52 | 36.09 | 0.61016 | 2.0932 | 10.8322 | 36.45 | 3.9242
1 | 3 | Aspartic Acid | GH STD | 03242022004 | UNK | 3.29 | 5027969 | 47656516 | 9.3584 | 32.5515 | 10.52 | 36.09 | 0.34611 | 1.1874 | 9.4828 | 32.3011 | 3.9724
1 | 4 | Aspartic Acid | GH STD | 03242022005 | UNK | 0.39 | 2673424 | 25501728 | 42.6554 | 149.2421 | 10.52 | 36.09 | 0.041028 | 0.14075 | 42.9774 | 147.6925 | 4.0076
1 | 5 | Aspartic Acid | GH STD | 03242022006 | UNK | 1.63 | 2564287 | 24230606 | 9.8034 | 33.9873 | 10.52 | 36.09 | 0.17148 | 0.58827 | 9.8724 | 33.6243 | 3.9719
1 | 19 | Aspartic Acid | GH STD | 03242022020 | UNK | 3.56 | 6555902 | 61257472 | 11.267 | 39.1263 | 10.52 | 36.09 | 0.37451 | 1.2848 | 11.3952 | 38.2443 | 3.9139
1 | 31 | Aspartic Acid | GH STD | 03242022032 | UNK | 1.42 | 2108709 | 19780388 | 9.408 | 32.1756 | 10.52 | 36.09 | 0.14938 | 0.51248 | 9.3652 | 31.7121 | 3.9489
1 | 43 | Aspartic Acid | GH STD | 03242022044 | UNK | 5.86 | 9657668 | 90502112 | 10.0287 | 35.0317 | 10.52 | 36.09 | 0.61647 | 2.1149 | 10.1682 | 34.1971 | 3.922
1 | 55 | Aspartic Acid | GH STD | 03242022056 | UNK | 4.49 | 8031923 | 75402744 | 10.9107 | 38.1317 | 10.52 | 36.09 | 0.47235 | 1.6204 | 11.0506 | 37.2438 | 3.9304
2 | 81 | Aspartic Acid | GH STD | 03242022081 | UNK | 1.61 | 3201202.5 | 29485514 | 12.5022 | 42.3125 | 10.52 | 36.09 | 0.16937 | 0.58105 | 12.4207 | 41.2123 | 3.8694
2 | 82 | Aspartic Acid | GH STD | 03242022082 | UNK | 0.39 | 719872 | 6483962 | 12.4786 | 40.6489 | 10.52 | 36.09 | 0.041028 | 0.14075 | 12.2637 | 40.567 | 3.8576
2 | 83 | Aspartic Acid | GH STD | 03242022083 | STD | 4.51 | 7906230 | 73592928 | 10.52 | 36.09 | 10.52 | 36.09 | 0.47445 | 1.6277 | 10.8307 | 36.197 | 3.8975
2 | 84 | Aspartic Acid | GH STD | 03242022084 | STD | 3.12 | 5367607 | 50144168 | 10.52 | 36.09 | 10.52 | 36.09 | 0.32822 | 1.126 | 10.6669 | 35.8127 | 3.9153
2 | 85 | Aspartic Acid | GH STD | 03242022085 | UNK | 8.54 | 15661945 | 145265888 | 10.7868 | 37.014 | 10.52 | 36.09 | 0.89841 | 3.0821 | 11.2882 | 37.553 | 3.8796
2 | 97 | Aspartic Acid | GH STD | 03242022099 | UNK | 3.52 | 6416737 | 59399280 | 11.0413 | 37.6138 | 10.52 | 36.09 | 0.3703 | 1.2704 | 11.2823 | 37.5192 | 3.8781
2 | 109 | Aspartic Acid | GH STD | 03242022111 | STD | 0.81 | 1339964 | 12130672 | 10.52 | 36.09 | 10.52 | 36.09 | 0.085212 | 0.29233 | 10.5987 | 34.847 | 3.8342
2 | 121 | Aspartic Acid | GH STD | 03242022123 | UNK | 5.54 | 10164524 | 94440016 | 10.9121 | 37.4305 | 10.52 | 36.09 | 0.58281 | 1.9994 | 11.3165 | 37.734 | 3.8885
2 | 133 | Aspartic Acid | GH STD | 03242022135 | STD | 1.57 | 2878645 | 26292452 | 10.52 | 36.09 | 10.52 | 36.09 | 0.16516 | 0.56661 | 11.4774 | 37.7944 | 3.8402
3 | 6 | Aspartic Acid | GH STD | 03302022007 | STD | 8.23 | 14443952 | 133902472 | 10.52 | 36.09 | 10.52 | 36.09 | 0.8658 | 2.9702 | 10.806 | 35.9342 | 3.878
3 | 7 | Aspartic Acid | GH STD | 03302022008 | STD | 5.52 | 9665886 | 90227424 | 10.52 | 36.09 | 10.52 | 36.09 | 0.5807 | 1.9922 | 10.8036 | 36.1942 | 3.9069
3 | 8 | Aspartic Acid | GH STD | 03302022009 | STD | 3.04 | 5312996 | 49403680 | 10.52 | 36.09 | 10.52 | 36.09 | 0.31981 | 1.0971 | 10.8375 | 36.22 | 3.8975
3 | 9 | Aspartic Acid | GH STD | 03302022010 | STD | 1.6 | 2734448 | 25192100 | 10.52 | 36.09 | 10.52 | 36.09 | 0.16832 | 0.57744 | 10.7096 | 35.5749 | 3.8738
3 | 10 | Aspartic Acid | GH STD | 03302022011 | STD | 0.46 | 739518 | 6681761 | 10.52 | 36.09 | 10.52 | 36.09 | 0.048392 | 0.16601 | 10.6593 | 35.3384 | 3.8662
3 | 22 | Aspartic Acid | GH STD | 03302022025 | STD | 5.84 | 10163853 | 95070528 | 10.52 | 36.09 | 10.52 | 36.09 | 0.61437 | 2.1077 | 10.7345 | 36.0328 | 3.9146
3 | 34 | Aspartic Acid | GH STD | 03302022037 | STD | 1.2 | 2094880 | 19017720 | 10.52 | 36.09 | 10.52 | 36.09 | 0.12624 | 0.43308 | 11.0115 | 36.1298 | 3.8264
3 | 46 | Aspartic Acid | GH STD | 03302022049 | STD | 3.88 | 6830737.5 | 63491972 | 10.52 | 36.09 | 10.52 | 36.09 | 0.40818 | 1.4003 | 10.8897 | 36.3553 | 3.8933
3 | 58 | Aspartic Acid | GH STD | 03302022061 | STD | 2.44 | 4117372 | 38066668 | 10.52 | 36.09 | 10.52 | 36.09 | 0.25669 | 0.8806 | 10.4979 | 34.9193 | 3.8791
4 |  | Aspartic Acid |  | 04282022002 | STD | 0.33 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Aspartic Acid |  | 04282022003 | STD | 1.71 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Aspartic Acid |  | 04282022004 | STD | 2.92 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Aspartic Acid |  | 04282022005 | STD | 5.2 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Aspartic Acid |  | 04282022006 | STD | 8.85 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Aspartic Acid |  | 04282022020 | STD | 4.51 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Aspartic Acid |  | 04282022032 | STD | 2.4 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Aspartic Acid |  | 04282022044 | STD | 6.48 | [8 empty] | 10.52 | 36.09 | 4.0007
4 |  | Aspartic Acid |  | 04282022056 | STD | 1.01 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022002 | STD | 0.44 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022003 | STD | 1.5 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022004 | STD | 2.95 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022005 | STD | 5.06 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022006 | STD | 7.95 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022020 | STD | 2 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022032 | STD | 5.9 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022044 | STD | 4.4 | [8 empty] | 10.52 | 36.09 | 4.0007
5 |  | Aspartic Acid |  | 04292022056 | STD | 3.11 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022002 | STD | 0.38 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022003 | STD | 1.49 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022004 | STD | 2.98 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022005 | STD | 5.61 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022006 | STD | 7.77 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022020 | STD | 1.81 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022032 | STD | 6.49 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022044 | STD | 4.09 | [8 empty] | 10.52 | 36.09 | 4.0007
6 |  | Aspartic Acid |  | 05022022056 | STD | 2.86 | [8 empty] | 10.52 | 36.09 | 4.0007
2 | 108 | BB10B-H |  | 03242022110 | UNK | 3.59 | 5615472 | 77879152 | 9.5404 | 47.8929 |  |  |  |  | 9.6938 | 48.096 | 5.7861 | 9.3989 | 49.3336 | 6.1266
6 |  | BB10B-H2 |  | 05022022022 | UNK | 3.6 | [8 empty] | 9.1874 | 49.8885 | 6.3325 | 0.26329 | 1.0736 | 0.29709
6 |  | BB10B-H3 |  | 05022022023 | UNK | 2.46 | [8 empty] | 9.3155 | 50.0162 | 6.2614 | 2.8013 | 2.1763 | 4.8492
2 | 107 | BB10B-S |  | 03242022109 | UNK | 3.39 | 6136852 | 78318920 | 10.9892 | 50.996 |  |  |  |  | 11.2087 | 51.2185 | 5.3289
6 |  | BB10B-S2 |  | 05022022054 | UNK | 3.43 | [8 empty] | 10.8109 | 51.8195 | 5.5898
2 | 106 | BB11B-H |  | 03242022108 | UNK | 2.13 | 3592174.5 | 45625732 | 10.6083 | 48.3259 |  |  |  |  | 10.5139 | 47.7978 | 5.3016
2 | 105 | BB11B-S |  | 03242022107 | UNK | 2.09 | 3558342 | 46212016 | 10.7181 | 49.851 |  |  |  |  | 10.6159 | 49.3288 | 5.4189
2 | 104 | BB12B-H |  | 03242022106 | UNK | 2.24 | 3530662 | 48436236 | 9.9292 | 48.637 |  |  |  |  | 9.8292 | 48.2069 | 5.7195
2 | 103 | BB12B-S |  | 03242022105 | UNK | 2.47 | 4257375.5 | 58405184 | 10.6993 | 52.7425 |  |  |  |  | 10.7179 | 52.5844 | 5.7215
2 | 141 | BB1B-H |  | 03242022143 | UNK | 2.69 | 4535386 | 60522332 | 10.4196 | 50.1128 |  |  |  |  | 10.4751 | 50.0129 | 5.5679
3 | 18 | BB1B-S |  | 03302022021 | UNK | 2.75 | 4462006 | 64375424 | 9.8342 | 52.2692 |  |  |  |  | 10.0829 | 51.9997 | 6.0142
3 | 14 | BB2B-H |  | 03302022017 | UNK | 2.74 | 3600670 | 57157884 | 7.9876 | 46.6526 |  |  |  |  | 8.1922 | 46.4027 | 6.6055
5 |  | BB2B-S |  | 04292022029 | UNK | 2.71 | [8 empty] | 11.2459 | 47.9853 | 4.976
4 |  | BB3B-H |  | 04282022045 | UNK | 3.33 | [8 empty] | 7.9221 | 48.6479 | 7.1613
4 |  | BB3B-S |  | 04282022043 | UNK | 3.24 | [8 empty] | 10.0162 | 51.6597 | 6.0147 | 10.6075 | 53.3038 | 5.8644
5 |  | BB3B-S2 |  | 04292022048 | UNK | 3.83 | [8 empty] | 10.9075 | 54.6372 | 5.8416 | 0.51209 | 1.5128 | 0.14036
5 |  | BB3B-S3 |  | 04292022049 | UNK | 3.32 | [8 empty] | 10.8988 | 53.6145 | 5.7368 | 4.8276 | 2.8381 | 2.3934
4 |  | BB4B-H |  | 04282022042 | UNK | 2.13 | [8 empty] | 8.207 | 49.5401 | 7.0394
4 |  | BB4B-S |  | 04282022041 | UNK | 3.3 | [8 empty] | 11.3434 | 52.353 | 5.3823
4 |  | BB5B-H |  | 04282022040 | UNK | 3.12 | [8 empty] | 11.2391 | 50.2138 | 5.2102
4 |  | BB5B-S |  | 04282022039 | UNK | 2.55 | [8 empty] | 10.7461 | 49.386 | 5.3594
4 |  | BB6B-H |  | 04282022038 | UNK | 2.86 | [8 empty] | 10.7266 | 51.3089 | 5.5782 | 11.3233 | 51.2079 | 5.2821
5 |  | BB6B-H2 |  | 04292022059 | UNK | 2.29 | [8 empty] | 11.5347 | 51.5091 | 5.2077 | 0.52398 | 0.36248 | 0.26685
5 |  | BB6B-H3 |  | 04292022060 | UNK | 1.68 | [8 empty] | 11.7085 | 50.8056 | 5.0603 | 4.6274 | 0.70787 | 5.0521
4 |  | BB6B-S |  | 04282022037 | UNK | 3.39 | [8 empty] | 9.9708 | 53.0862 | 6.2089
4 |  | BB7B-H |  | 04282022036 | UNK | 3.45 | [8 empty] | 10.3229 | 48.5309 | 5.4825
4 |  | BB7B-S |  | 04282022035 | UNK | 2.3 | [8 empty] | 10.0399 | 46.6283 | 5.4161
2 | 113 | BB8B-H |  | 03242022115 | UNK | 2.38 | 3698560.5 | 57202412 | 9.7515 | 53.6558 |  |  |  |  | 9.6836 | 53.4627 | 6.4384
2 | 112 | BB8B-S |  | 03242022114 | UNK | 2.7 | 5365492 | 61622252 | 12.1519 | 50.7987 |  |  |  |  | 12.3214 | 50.7226 | 4.8007
2 | 111 | BB9B-H |  | 03242022113 | UNK | 2.46 | 4023470 | 54323548 | 10.1951 | 49.4073 |  |  |  |  | 10.1785 | 49.1532 | 5.6316
2 | 110 | BB9B-S |  | 03242022112 | UNK | 1.5 | 2899028 | 33006220 | 12.4021 | 50.6244 |  |  |  |  | 12.0963 | 49.3908 | 4.7617
6 |  | BBS0B-S3 |  | 05022022055 | UNK | 4.67 | [8 empty] | 11.201 | 52.2112 | 5.4359
2 | 98 | BC10B-H |  | 03242022100 | UNK | 2.36 | 4246796 | 53510520 | 11.1722 | 50.7638 |  |  |  |  | 11.19 | 50.4792 | 5.2607
2 | 96 | BC10B-S |  | 03242022098 | UNK | 2.8 | 4663740 | 64572812 | 10.2743 | 51.2388 |  |  |  |  | 10.3446 | 51.226 | 5.7749 | 10.5221 | 51.2574 | 5.6817
6 |  | BC10B-S2 |  | 05022022052 | UNK | 2.56 | [8 empty] | 10.6057 | 50.8508 | 5.5915 | 0.15378 | 0.42314 | 0.091736
6 |  | BC10B-S3 |  | 05022022053 | UNK | 1.65 | [8 empty] | 10.616 | 51.6953 | 5.6788 | 1.4615 | 0.82552 | 1.6146
2 | 95 | BC11B-H |  | 03242022097 | UNK | 3.44 | 5463479 | 81291192 | 9.7019 | 52.1033 |  |  |  |  | 9.8455 | 52.3722 | 6.2034
2 | 94 | BC11B-S |  | 03242022096 | UNK | 1.57 | 3101395 | 33041612 | 12.5916 | 48.4155 |  |  |  |  | 12.3473 | 47.2382 | 4.4615
2 | 93 | BC12B-H |  | 03242022095 | UNK | 2.34 | 3583982 | 52184764 | 9.6361 | 49.9856 |  |  |  |  | 9.5489 | 49.666 | 6.0656 | 9.7911 | 51.051 | 6.0825
6 |  | BC12B-H2 |  | 05022022024 | UNK | 4.33 | [8 empty] | 10.1402 | 51.7114 | 5.9471 | 0.3098 | 1.1999 | 0.14462
6 |  | BC12B-H3 |  | 05022022025 | UNK | 4.41 | [8 empty] | 9.6842 | 51.7756 | 6.2349 | 3.1641 | 2.3504 | 2.3776
2 | 92 | BC12B-S |  | 03242022094 | UNK | 0.89 | 1461326 | 19089748 | 11.5975 | 51.8701 |  |  |  |  | 10.4822 | 48.8921 | 5.4394
3 | 17 | BC1B-H |  | 03302022020 | UNK | 1.76 | 2700600 | 36927504 | 9.3727 | 47.2883 |  |  |  |  | 9.6181 | 46.989 | 5.6974
2 | 142 | BC1B-S |  | 03242022144 | UNK | 0.64 | 918115 | 11039386 | 11.2388 | 45.2216 |  |  |  |  | 9.3725 | 40.3573 | 5.0215
5 |  | BC2B-H |  | 04292022017 | UNK | 2.74 | [8 empty] | 10.1499 | 51.0135 | 5.8612
2 | 136 | BC2B-S |  | 03242022138 | UNK | 1.7 | 3278000 | 36305320 | 12.2271 | 48.8203 |  |  |  |  | 12.0401 | 47.8434 | 4.634
4 |  | BC3B-H |  | 04282022034 | UNK | 1.22 | [8 empty] | 8.9951 | 53.0798 | 6.8816
4 |  | BC3B-S |  | 04282022033 | UNK | 1.97 | [8 empty] | 10.3677 | 50.0347 | 5.628
4 |  | BC4B-H |  | 04282022031 | UNK | 1.76 | [8 empty] | 8.6906 | 51.0494 | 6.8502
4 |  | BC4B-S |  | 04282022030 | UNK | 1.99 | [8 empty] | 10.7599 | 50.6663 | 5.4913
4 |  | BC5B-H |  | 04282022029 | UNK | 2.5 | [8 empty] | 8.7542 | 45.8185 | 6.1037 | 9.3624 | 47.7578 | 5.9535
5 |  | BC5B-H2 |  | 04292022061 | UNK | 2.57 | [8 empty] | 9.5984 | 48.2798 | 5.8658 | 0.53117 | 1.7381 | 0.13067
5 |  | BC5B-H3 |  | 04292022062 | UNK | 2.36 | [8 empty] | 9.7347 | 49.175 | 5.891 | 5.6734 | 3.6394 | 2.1948
4 |  | BC5B-S |  | 04282022028 | UNK | 2.87 | [8 empty] | 9.9598 | 53.2164 | 6.2311 | 10.5435 | 54.7951 | 6.0663
5 |  | BC5B-S2 |  | 04292022046 | UNK | 2.06 | [8 empty] | 11.0987 | 56.3322 | 5.919 | 0.57 | 1.5584 | 0.15674
5 |  | BC5B-S3 |  | 04292022047 | UNK | 2.77 | [8 empty] | 10.5721 | 54.8367 | 6.0489 | 5.4062 | 2.844 | 2.5838
4 |  | BC6B-H |  | 04282022027 | UNK | 2.06 | [8 empty] | 9.5606 | 51.9338 | 6.3348
4 |  | BC6B-S |  | 04282022026 | UNK | 1.68 | [8 empty] | 10.0863 | 49.5242 | 5.726
4 |  | BC7B-H |  | 04282022025 | UNK | 2.85 | [8 empty] | 9.7196 | 49.9048 | 5.9877
4 |  | BC7B-S |  | 04282022024 | UNK | 2.94 | [8 empty] | 10.0753 | 48.274 | 5.5876
2 | 102 | BC8B-H |  | 03242022104 | UNK | 3.38 | 4453470 | 73644912 | 8.1529 | 48.1885 |  |  |  |  | 8.1881 | 48.3322 | 6.8837
2 | 101 | BC8B-S |  | 03242022103 | UNK | 2.91 | 5296046 | 66153872 | 11.1375 | 50.4643 |  |  |  |  | 11.2859 | 50.4832 | 5.2165
2 | 100 | BC9B-H |  | 03242022102 | UNK | 2.72 | 4309082 | 63806792 | 9.8254 | 52.1434 |  |  |  |  | 9.8494 | 52.114 | 6.1704
2 | 99 | BC9B-S |  | 03242022101 | UNK | 1.98 | 3978985.5 | 45742172 | 12.5373 | 52.1128 |  |  |  |  | 12.5083 | 51.548 | 4.806
1 | 0 | Blank |  | 03242022001 | Blank |  | 0 | 0 | 0 | 0
1 | 67 | BLANK |  | 03242022067 | Blank |  | 0 | 0 | 0 | 0
2 | 76 | blank |  | 03242022075 | Blank |  | 0 | 317019.5 | 0 | 0
3 | 0 | Blank |  | 03302022001 | Blank |  | 0 | 210273 | 0 | 0
4 |  | Blank |  | 04282022001 | Blank | [9 empty] | 0 | 0 | #DIV/0!
5 |  | Blank |  | 04292022001 | UNK | 1 | [8 empty] | 0 | 2.7775 | #DIV/0!
6 |  | Blank |  | 05022022001 | Blank | [9 empty] | 0 | 0 | #DIV/0!
2 | 87 | BY10B-H |  | 03242022089 | UNK | 3.2 | 5855979 | 72627264 | 11.1361 | 50.2188 |  |  |  |  | 11.336 | 50.3522 | 5.1799
2 | 86 | BY10B-S |  | 03242022088 | UNK | 3.16 | 5559770 | 71802256 | 10.7371 | 50.2959 |  |  |  |  | 10.9048 | 50.4161 | 5.3916
1 | 65 | BY11B-H |  | 03242022066 | UNK | 3.39 | 5574601 | 82920160 | 10.0908 | 55.509 |  |  |  |  | 10.1917 | 54.2003 | 6.2018
1 | 64 | BY11B-S |  | 03242022065 | UNK | 2.43 | 3867309 | 57428840 | 9.851 | 53.7653 |  |  |  |  | 9.9101 | 52.5674 | 6.1859
1 | 63 | BY12B-H |  | 03242022064 | UNK | 1.86 | 3182764 | 40036908 | 10.656 | 49.1408 |  |  |  |  | 10.6905 | 48.1352 | 5.2509
1 | 62 | BY12B-S |  | 03242022063 | UNK | 2.43 | 4651881 | 53275496 | 11.7931 | 49.9082 |  |  |  |  | 11.8898 | 48.8125 | 4.7876 | 12.0169 | 49.649 | 4.818
6 |  | BY12B-S2 |  | 05022022050 | UNK | 2.17 | [8 empty] | 12.0903 | 49.8147 | 4.8049 | 0.11048 | 0.76713 | 0.03867
6 |  | BY12B-S3 |  | 05022022051 | UNK | 2.7 | [8 empty] | 12.0706 | 50.3197 | 4.8616 | 0.9194 | 1.5451 | 0.8026
5 |  | BY1B-H |  | 04292022026 | UNK | 3.05 | [8 empty] | 10.0534 | 48.6287 | 5.6409
5 |  | BY1B-S |  | 04292022013 | UNK | 3.02 | [8 empty] | 8.6505 | 52.3678 | 7.0598
5 |  | BY2B-H |  | 04292022030 | UNK | 2.91 | [8 empty] | 10.2484 | 45.6916 | 5.1993
5 |  | BY2B-S |  | 04292022031 | UNK | 2.61 | [8 empty] | 10.7297 | 50.6832 | 5.5086
4 |  | BY3B-H |  | 04282022023 | UNK | 1.01 | [8 empty] | 8.4333 | 36.0785 | 4.989
4 |  | BY3B-S |  | 04282022022 | UNK | 2.6 | [8 empty] | 11.5245 | 47.7259 | 4.8294 | 12.3288 | 50.4576 | 4.7746
5 |  | BY3B-S2 |  | 04292022043 | UNK | 2.57 | [8 empty] | 12.4089 | 50.5092 | 4.7468 | 0.76731 | 2.7063 | 0.04751
5 |  | BY3B-S3 |  | 04292022045 | UNK | 2.26 | [8 empty] | 13.0528 | 53.1378 | 4.7475 | 6.2237 | 5.3636 | 0.99506
4 |  | BY4B-H |  | 04282022021 | UNK | 1.48 | [8 empty] | 7.0644 | 45.0792 | 7.4416
4 |  | BY4B-S |  | 04282022019 | UNK | 2.13 | [8 empty] | 10.2769 | 48.8616 | 5.5446
4 |  | BY5B-H |  | 04282022018 | UNK | 2.3 | [8 empty] | 10.3509 | 49.9878 | 5.6319
4 |  | BY5B-S |  | 04282022017 | UNK | 2.44 | [8 empty] | 10.1655 | 50.4774 | 5.7907
4 |  | BY6B-H |  | 04282022016 | UNK | 2.62 | [8 empty] | 8.7034 | 47.2423 | 6.3301 | 9.2917 | 48.8323 | 6.1368
5 |  | BY6B-H2 |  | 04292022063 | UNK | 4.28 | [8 empty] | 9.3069 | 48.9616 | 6.1351 | 0.58093 | 1.5295 | 0.19236
5 |  | BY6B-H3 |  | 04292022064 | UNK | 2.94 | [8 empty] | 9.8649 | 50.293 | 5.9454 | 6.2521 | 3.1321 | 3.1345
4 |  | BY6B-S |  | 04282022015 | UNK | 1.99 | [8 empty] | 9.3701 | 50.0565 | 6.2299
4 |  | BY7B-H |  | 04282022014 | UNK | 1.75 | [8 empty] | 10.2167 | 47.156 | 5.3826
4 |  | BY7B-S |  | 04282022013 | UNK | 1.63 | [8 empty] | 9.4564 | 50.067 | 6.1743
2 | 91 | BY8B-H |  | 03242022093 | UNK | 2.23 | 3381023 | 51935872 | 9.5872 | 52.2125 |  |  |  |  | 9.4618 | 51.8707 | 6.3931
2 | 90 | BY8B-S |  | 03242022092 | UNK | 2.22 | 3769960 | 51554604 | 10.6395 | 52.0803 |  |  |  |  | 10.5787 | 51.727 | 5.7023
2 | 89 | BY9B-H |  | 03242022091 | UNK | 2.05 | 3786171 | 44954016 | 11.5674 | 49.5108 |  |  |  |  | 11.5044 | 48.9432 | 4.9613 | 11.6552 | 50.3092 | 5.034
6 |  | BY9B-H2 |  | 05022022026 | UNK | 2.77 | [8 empty] | 11.3006 | 49.4119 | 5.0991 | 0.44938 | 1.9741 | 0.069253
6 |  | BY9B-H3 |  | 05022022027 | UNK | 2.24 | [8 empty] | 12.1606 | 52.5726 | 5.0416 | 3.8556 | 3.924 | 1.3757
2 | 88 | BY9B-S |  | 03242022090 | UNK | 1.85 | 3183788 | 39912828 | 10.9424 | 49.0337 |  |  |  |  | 10.7516 | 48.2481 | 5.2332
1 | 57 | HS10B-H |  | 03242022058 | UNK | 3.25 | 5708590 | 71243408 | 10.7734 | 49.7923 |  |  |  |  | 10.8836 | 48.6422 | 5.212
1 | 56 | HS10B-S |  | 03242022057 | UNK | 3.23 | 5521742 | 72758624 | 10.4922 | 51.1592 |  |  |  |  | 10.5963 | 49.9739 | 5.4999
1 | 54 | HS11B-H |  | 03242022055 | UNK | 3.6 | 5620942 | 96774872 | 9.5796 | 60.9559 |  |  |  |  | 9.6762 | 59.4932 | 7.1702 | 9.0918 | 57.487 | 7.3982
6 |  | HS11B-H2 |  | 05022022028 | UNK | 4.53 | [8 empty] | 8.156 | 55.0848 | 7.8763 | 0.81878 | 2.2307 | 0.41419
6 |  | HS11B-H3 |  | 05022022029 | UNK | 2.62 | [8 empty] | 9.4433 | 57.8829 | 7.1482 | 9.0057 | 3.8804 | 5.5985
1 | 53 | HS11B-S |  | 03242022054 | UNK | 3.37 | 7055058 | 84980040 | 12.7932 | 57.2178 |  |  |  |  | 12.9459 | 55.8647 | 5.0324
1 | 52 | HS12B-H |  | 03242022053 | UNK | 2.25 | 4467683 | 64649120 | 12.2441 | 65.3083 |  |  |  |  | 12.339 | 63.8224 | 6.032
1 | 51 | HS12B-S |  | 03242022052 | UNK | 1.81 | 3396668 | 43426608 | 11.6612 | 54.7245 |  |  |  |  | 11.7104 | 53.5791 | 5.3357
2 | 140 | HS1B-H |  | 03242022142 | UNK | 3.38 | 5002893 | 85347024 | 9.0892 | 55.5953 |  |  |  |  | 9.1848 | 55.938 | 7.1024
2 | 143 | HS1B-S |  | 03242022145 | UNK | 2.1 | 3334061 | 46060132 | 10.0519 | 49.4588 |  |  |  |  | 9.9105 | 48.935 | 5.7583
5 |  | HS2B-H |  | 04292022034 | UNK | 2.82 | [8 empty] | 10.181 | 48.7088 | 5.5793
5 |  | HS2B-S |  | 04292022012 | UNK | 2.84 | [8 empty] | 11.1639 | 50.8261 | 5.3093
4 |  | HS3B-H |  | 04282022012 | UNK | 2.56 | [8 empty] | 10.8591 | 49.5506 | 5.3213
4 |  | HS3B-S |  | 04282022011 | UNK | 1.98 | [8 empty] | 10.9404 | 46.4422 | 4.9505
4 |  | HS4B-H |  | 04282022010 | UNK | 2.62 | [8 empty] | 10.8295 | 52.2069 | 5.6219 | 11.4533 | 52.9004 | 5.3926
5 |  | HS4B-H2 |  | 04292022065 | UNK | 3.3 | [8 empty] | 11.6593 | 52.7625 | 5.2774 | 0.55055 | 0.77177 | 0.19863
5 |  | HS4B-H3 |  | 04292022066 | UNK | 3.48 | [8 empty] | 11.8712 | 53.7319 | 5.2784 | 4.8069 | 1.4589 | 3.6834
4 |  | HS4B-S |  | 04282022009 | UNK | 2.57 | [8 empty] | 10.4082 | 47.987 | 5.3767
3 | 68 | HS5B-H |  | 03302022071 | UNK | 3.27 | 5671514 | 76311528 | 10.4853 | 52.0046 |  |  |  |  | 10.7475 | 51.7495 | 5.6152
3 | 67 | HS5B-S |  | 03302022070 | UNK | 2.97 | 5740608 | 70324024 | 11.6837 | 52.813 |  |  |  |  | 11.9757 | 52.5479 | 5.1171
3 | 66 | HS6B-H |  | 03302022069 | UNK | 2.85 | 5772433 | 62176784 | 12.2425 | 48.7344 |  |  |  |  | 12.5484 | 48.4804 | 4.5055
3 | 65 | HS6B-S |  | 03302022068 | UNK | 2.11 | 3708909 | 47441864 | 10.6797 | 50.4302 |  |  |  |  | 10.9528 | 50.1417 | 5.3388
3 | 64 | HS7B-H |  | 03302022067 | UNK | 3.25 | 5911997 | 72997480 | 10.9929 | 50.0765 |  |  |  |  | 11.2673 | 49.8278 | 5.1572
3 | 63 | HS7B-S |  | 03302022066 | UNK | 3.03 | 5740297 | 69041800 | 11.4517 | 50.8343 |  |  |  |  | 11.7379 | 50.5777 | 5.025
1 | 61 | HS8B-H |  | 03242022062 | UNK | 2.55 | 4287960 | 59832160 | 10.3797 | 53.3621 |  |  |  |  | 10.4552 | 52.1641 | 5.8184
1 | 60 | HS8B-S |  | 03242022061 | UNK | 2.18 | 4014564 | 48255564 | 11.387 | 50.4352 |  |  |  |  | 11.4608 | 49.3516 | 5.0217 | 11.5663 | 50.4745 | 5.0888
6 |  | HS8B-S2 |  | 05022022048 | UNK | 2.18 | [8 empty] | 11.5709 | 50.6374 | 5.1035 | 0.10336 | 1.051 | 0.061001
6 |  | HS8B-S3 |  | 05022022049 | UNK | 2.45 | [8 empty] | 11.6674 | 51.4346 | 5.141 | 0.89364 | 2.0822 | 1.1987
1 | 59 | HS9B-H |  | 03242022060 | UNK | 2.31 | 4140487 | 50250480 | 11.0741 | 49.5457 |  |  |  |  | 11.1501 | 48.4714 | 5.0696
1 | 58 | HS9B-S |  | 03242022059 | UNK | 2.17 | 4060821 | 51562268 | 11.5677 | 54.1064 |  |  |  |  | 11.6443 | 52.9266 | 5.3006
1 | 72 | L-cyst | Wes STD | 03242022072 | STD | 1.429 | 2659427 | 18282580 | 11.66 | 29.99 | 11.66 | 29.99 | 0.16662 | 0.42856 | 11.6693 | 29.2098 | 2.9191
1 | 73 | L-cyst | Wes STD | 03242022073 | STD | 0.26 | 482875 | 3264832 | 11.66 | 29.99 | 11.66 | 29.99 | 0.030316 | 0.077974 | 12.8064 | 33.6509 | 3.0643
1 | 74 | L-cyst | Wes STD | 03242022074 | STD | 2.923 | 5438710 | 37832672 | 11.66 | 29.99 | 11.66 | 29.99 | 0.34082 | 0.87661 | 11.535 | 28.9734 | 2.9292
2 | 77 | L-cyst | Wes STD | 03242022076 | STD | 1.271 | 2269636.5 | 16096296 | 11.66 | 29.99 | 11.66 | 29.99 | 0.1482 | 0.38117 | 11.2395 | 29.0621 | 3.0154
2 | 78 | L-cyst | Wes STD | 03242022077 | STD | 0.433 | 724767.5 | 5304252 | 11.66 | 29.99 | 11.66 | 29.99 | 0.050488 | 0.12986 | 11.1151 | 30.5531 | 3.2056
2 | 79 | L-cyst | Wes STD | 03242022078 | STD | 0.321 | 553909.5 | 3890285 | 11.66 | 29.99 | 11.66 | 29.99 | 0.037429 | 0.096268 | 11.7297 | 31.5366 | 3.1354
2 | 80 | L-cyst | Wes STD | 03242022079 | STD | 2.361 | 4411603 | 30366004 | 11.66 | 29.99 | 11.66 | 29.99 | 0.27529 | 0.70806 | 11.6133 | 28.9225 | 2.9043
4 |  | L-cyst WES |  | 04282022007 | STD | 1.015 | [8 empty] | 11.66 | 29.99 | 2.9995
4 |  | L-cyst WES |  | 04282022008 | STD | 4.299 | [8 empty] | 11.66 | 29.99 | 2.9995
5 |  | L-cyst wes |  | 04292022007 | STD | 0.591 | [8 empty] | 11.66 | 29.99 | 2.9995
5 |  | L-cyst wes |  | 04292022008 | STD | 2.304 | [8 empty] | 11.66 | 29.99 | 2.9995
1 | 46 | MW10B-H |  | 03242022047 | UNK | 2.4 | 3695514 | 49892832 | 9.5435 | 47.3514 |  |  |  |  | 9.5951 | 46.3264 | 5.6305
1 | 45 | MW10B-S |  | 03242022046 | UNK | 1.36 | 2646076 | 35050836 | 12.1999 | 58.9337 |  |  |  |  | 12.2011 | 57.7779 | 5.5224
1 | 44 | MW11B-H |  | 03242022045 | UNK | 3.21 | 6226282 | 75061088 | 11.8778 | 53.0966 |  |  |  |  | 12.0081 | 51.861 | 5.0366
1 | 42 | MW11B-S |  | 03242022043 | UNK | 2.72 | 5649625 | 72406600 | 12.7423 | 60.4595 |  |  |  |  | 12.8713 | 59.0597 | 5.351 | 11.8624 | 54.6557 | 5.3739
6 |  | MW11B-S2 |  | 05022022046 | UNK | 2.66 | [8 empty] | 11.1359 | 51.2682 | 5.369 | 0.90154 | 3.994 | 0.025782
6 |  | MW11B-S3 |  | 05022022047 | UNK | 2.72 | [8 empty] | 11.58 | 53.6393 | 5.4018 | 7.6 | 7.3075 | 0.47976
1 | 41 | MW12B-H |  | 03242022042 | UNK | 2.21 | 3450261 | 55207720 | 9.6965 | 56.8495 |  |  |  |  | 9.7396 | 55.5924 | 6.6564
1 | 40 | MW12B-S |  | 03242022041 | UNK | 1.96 | 3773433 | 51723120 | 11.9251 | 60.0887 |  |  |  |  | 11.9929 | 58.7776 | 5.7155
5 |  | MW1B-H |  | 04292022024 | UNK | 2.88 | [8 empty] | 10.0573 | 51.2718 | 5.9451
3 | 11 | MW1B-S |  | 03302022014 | UNK | 2.43 | 3849183 | 54344608 | 9.619 | 50.0518 |  |  |  |  | 9.8644 | 49.7791 | 5.8849
5 |  | MW2B-H |  | 04292022021 | UNK | 3.41 | [8 empty] | 9.8907 | 54.952 | 6.4792
3 | 13 | MW2B-S |  | 03302022016 | UNK | 2.9 | 4562583.5 | 70726728 | 9.5332 | 54.394 |  |  |  |  | 9.774 | 54.1214 | 6.4574
3 | 62 | MW3B-H |  | 03302022065 | UNK | 2.1 | 4004263 | 44495928 | 11.5728 | 47.5776 |  |  |  |  | 11.8673 | 47.2987 | 4.648 | 11.5562 | 46.8739 | 4.7317
6 |  | MW3B-H2 |  | 05022022009 | UNK | 1.83 | [8 empty] | 11.4629 | 46.1557 | 4.6957 | 0.27656 | 0.62548 | 0.10634
6 |  | MW3B-H3 |  | 05022022010 | UNK | 2.09 | [8 empty] | 11.3383 | 47.1674 | 4.8513 | 2.3932 | 1.3344 | 2.2475
3 | 61 | MW3B-S |  | 03302022064 | UNK | 0.98 | 1827325 | 20469960 | 11.4964 | 47.9024 |  |  |  |  | 11.8095 | 47.496 | 4.6902
3 | 60 | MW4B-H |  | 03302022063 | UNK | 3.54 | 5329019.5 | 85802560 | 9.1062 | 53.949 |  |  |  |  | 9.3345 | 53.6924 | 6.7079
3 | 59 | MW4B-S |  | 03302022062 | UNK | 2.74 | 4826210 | 61514644 | 10.666 | 50.1581 |  |  |  |  | 10.9347 | 49.8958 | 5.3213 | 10.842 | 51.4428 | 5.5461
5 |  | MW4B-S2 |  | 04292022041 | UNK | 2.48 | [8 empty] | 11.3103 | 51.2368 | 5.2829 | 0.52094 | 1.6595 | 0.42304
5 |  | MW4B-S3 |  | 04292022042 | UNK | 3.03 | [8 empty] | 10.2809 | 53.1957 | 6.0341 | 4.8049 | 3.226 | 7.6276
3 | 57 | MW5B-H |  | 03302022060 | UNK | 2.88 | 4688675 | 66468880 | 9.8616 | 51.5123 |  |  |  |  | 10.1104 | 51.2494 | 5.9114
3 | 56 | MW5B-S |  | 03302022059 | UNK | 3.09 | 5248151 | 71612704 | 10.2756 | 51.6815 |  |  |  |  | 10.5334 | 51.4234 | 5.6932
3 | 55 | MW6B-H |  | 03302022058 | UNK | 3.02 | 3907565 | 64595712 | 7.8555 | 47.7569 |  |  |  |  | 8.0558 | 47.511 | 6.8778
3 | 54 | MW6B-S |  | 03302022057 | UNK | 3 | 5380292 | 70251240 | 10.8477 | 52.2314 |  |  |  |  | 11.1195 | 51.9691 | 5.4504
3 | 53 | MW7B-H |  | 03302022056 | UNK | 3.02 | 4991307.5 | 70173072 | 10.0045 | 51.8284 |  |  |  |  | 10.2561 | 51.5681 | 5.8636
3 | 52 | MW7B-S |  | 03302022055 | UNK | 3.26 | 6054211 | 73044544 | 11.2204 | 49.9548 |  |  |  |  | 11.5002 | 49.7067 | 5.0405
1 | 50 | MW8B-H |  | 03242022051 | UNK | 3.53 | 4785813 | 85675288 | 8.3464 | 55.0688 |  |  |  |  | 8.4174 | 53.7653 | 7.4488 | 9.31 | 55.3311 | 6.9542
6 |  | MW8B-H2 |  | 05022022030 | UNK | 2.13 | [8 empty] | 9.7087 | 54.8391 | 6.5871 | 0.77445 | 1.8613 | 0.44482
6 |  | MW8B-H3 |  | 05022022031 | UNK | 2.65 | [8 empty] | 9.8039 | 57.389 | 6.8265 | 8.3185 | 3.3639 | 6.3965
1 | 49 | MW8B-S |  | 03242022050 | UNK | 3.2 | 6359260 | 79534240 | 12.1649 | 56.417 |  |  |  |  | 12.3004 | 55.094 | 5.2234
1 | 48 | MW9B-H |  | 03242022049 | UNK | 3.1 | 5393884 | 69749952 | 10.6841 | 51.1144 |  |  |  |  | 10.7877 | 49.9375 | 5.3984
1 | 47 | MW9B-S |  | 03242022048 | UNK | 3.19 | 5805815 | 78031024 | 11.1594 | 55.5305 |  |  |  |  | 11.2751 | 54.2315 | 5.6091
1 | 6 | Secondary STD, Cystine | Wes STD | 03242022007 | STD | 3.684 | 7028864 | 48492416 | 11.66 | 29.99 | 11.66 | 29.99 | 0.42955 | 1.1048 | 11.7988 | 29.345 | 2.9004
1 | 7 | Secondary STD, Cystine | Wes STD | 03242022008 | STD | 1.317 | 2440667 | 17036284 | 11.66 | 29.99 | 11.66 | 29.99 | 0.15356 | 0.39497 | 11.6432 | 29.6149 | 2.9662
1 | 35 | SM10B-H |  | 03242022036 | UNK | 1.91 | 2951053 | 38364220 | 9.6473 | 45.8781 |  |  |  |  | 9.6668 | 44.9512 | 5.4228 | 9.9539 | 46.1458 | 5.4051
6 |  | SM10B-H2 |  | 05022022033 | UNK | 3.53 | [8 empty] | 10.3973 | 48.7908 | 5.4725 | 0.38957 | 2.2942 | 0.077774
6 |  | SM10B-H3 |  | 05022022034 | UNK | 2.36 | [8 empty] | 9.7976 | 44.6954 | 5.32 | 3.9137 | 4.9717 | 1.4389
1 | 34 | SM10B-S |  | 03242022035 | UNK | 1.78 | 3902280 | 44717900 | 13.5664 | 57.2839 |  |  |  |  | 13.6495 | 56.0758 | 4.791
1 | 33 | SM11B-H |  | 03242022034 | UNK | 3.2 | 5869937 | 72039192 | 11.2451 | 51.1315 |  |  |  |  | 11.3628 | 49.9485 | 5.1263
1 | 32 | SM11B-S |  | 03242022033 | UNK | 1.93 | 3946269 | 43132320 | 12.6491 | 50.9778 |  |  |  |  | 12.7284 | 49.9127 | 4.573
1 | 30 | SM12B-H |  | 03242022031 | UNK | 2.69 | 4285600 | 58369912 | 9.8342 | 49.3582 |  |  |  |  | 9.9057 | 48.2551 | 5.681
1 | 29 | SM12B-S |  | 03242022030 | UNK | 3.7 | 6168958 | 83313328 | 10.2116 | 51.098 |  |  |  |  | 10.3228 | 49.8926 | 5.6364
5 |  | SM1B-H |  | 04292022028 | UNK | 2.66 | [8 empty] | 10.6283 | 45.4286 | 4.9846
5 |  | SM1B-S |  | 04292022033 | UNK | 3.45 | [8 empty] | 10.3262 | 51.5898 | 5.8263
5 |  | SM2B-H |  | 04292022014 | UNK | 3.06 | [8 empty] | 9.358 | 48.1012 | 5.9943
5 |  | SM2B-S |  | 04292022022 | UNK | 2.64 | [8 empty] | 11.1487 | 50.2595 | 5.2573
3 | 51 | SM3B-H |  | 03302022054 | UNK | 2.68 | 4185056 | 61576368 | 9.4722 | 51.3318 |  |  |  |  | 9.7126 | 51.0635 | 6.1311
3 | 50 | SM3B-S |  | 03302022053 | UNK | 3.19 | 5987545 | 72627696 | 11.3415 | 50.7628 |  |  |  |  | 11.6245 | 50.5104 | 5.0673
3 | 49 | SM4B-H |  | 03302022052 | UNK | 2.07 | 3216929.5 | 46904404 | 9.4628 | 50.8323 |  |  |  |  | 9.7071 | 50.5402 | 6.0717
3 | 48 | SM4B-S |  | 03302022051 | UNK | 2.04 | 3521437 | 44849056 | 10.4958 | 49.3586 |  |  |  |  | 10.7651 | 49.0701 | 5.3157
3 | 47 | SM5B-H |  | 03302022050 | UNK | 3.08 | 5383797 | 69501960 | 10.5727 | 50.3384 |  |  |  |  | 10.8377 | 50.0849 | 5.3893
3 | 45 | SM5B-S |  | 03302022048 | UNK | 1.72 | 3035436 | 41275672 | 10.7564 | 53.9613 |  |  |  |  | 11.0354 | 53.6354 | 5.668
3 | 44 | SM6B-H |  | 03302022047 | UNK | 2.88 | 4944715 | 66087528 | 10.3939 | 51.2204 |  |  |  |  | 10.6555 | 50.9585 | 5.5771
3 | 43 | SM6B-S |  | 03302022046 | UNK | 2.4 | 3987195.5 | 52971352 | 10.0836 | 49.416 |  |  |  |  | 10.3403 | 49.1443 | 5.5425
3 | 42 | SM7B-H |  | 03302022045 | UNK | 3.33 | 5057518 | 69289272 | 9.1922 | 46.4185 |  |  |  |  | 9.4233 | 46.1844 | 5.7156 | 9.9699 | 47.1736 | 5.5244
6 |  | SM7B-H2 |  | 05022022011 | UNK | 3.34 | [8 empty] | 10.39 | 47.2561 | 5.3041 | 0.49562 | 0.95055 | 0.2073
6 |  | SM7B-H3 |  | 05022022012 | UNK | 3.59 | [8 empty] | 10.0963 | 48.0801 | 5.5535 | 4.9712 | 2.015 | 3.7525
3 | 41 | SM7B-S |  | 03302022044 | UNK | 2.83 | 5394234 | 63951256 | 11.5288 | 50.4611 |  |  |  |  | 11.8177 | 50.2005 | 4.9538 | 11.5312 | 51.0321 | 5.1667
5 |  | SM7B-S2 |  | 04292022039 | UNK | 4.84 | [8 empty] | 11.0585 | 51.523 | 5.4334 | 0.41241 | 0.72412 | 0.24426
5 |  | SM7B-S3 |  | 04292022040 | UNK | 2.97 | [8 empty] | 11.7174 | 51.3729 | 5.1129 | 3.5765 | 1.419 | 4.7275
1 | 39 | SM8B-H |  | 03242022040 | UNK | 2.51 | 4637226 | 56846580 | 11.3821 | 51.5282 |  |  |  |  | 11.4751 | 50.3823 | 5.1202
1 | 38 | SM8B-S |  | 03242022039 | UNK | 1.66 | 3372107 | 36314136 | 12.6259 | 50.0004 |  |  |  |  | 12.6779 | 49.0079 | 4.508
1 | 37 | SM9B-H |  | 03242022038 | UNK | 2.11 | 3126412 | 41268712 | 9.2328 | 44.6358 |  |  |  |  | 9.2601 | 43.7145 | 5.5053
1 | 36 | SM9B-S |  | 03242022037 | UNK | 2.64 | 4510328 | 57145624 | 10.5325 | 49.2465 |  |  |  |  | 10.6153 | 48.1502 | 5.2897 | 11.245 | 51.2221 | 5.3127
6 |  | SM9B-S2 |  | 05022022043 | UNK | 3.59 | [8 empty] | 11.3267 | 52.5789 | 5.4134 | 0.59313 | 2.6664 | 0.09151
6 |  | SM9B-S3 |  | 05022022045 | UNK | 2.29 | [8 empty] | 11.7931 | 52.9371 | 5.2348 | 5.2746 | 5.2055 | 1.7225
1 | 24 | WE10B-H |  | 03242022025 | UNK | 2.09 | 3214429 | 43716308 | 9.5745 | 47.7058 |  |  |  |  | 9.6069 | 46.7055 | 5.6696
1 | 23 | WE10B-S |  | 03242022024 | UNK | 2.07 | 4145781 | 55838408 | 12.3734 | 61.382 |  |  |  |  | 12.4585 | 60.0216 | 5.6183
1 | 22 | WE11B-H |  | 03242022023 | UNK | 2.58 | 5239874 | 57552480 | 12.4784 | 50.7476 |  |  |  |  | 12.596 | 49.6164 | 4.5937 | 12.2708 | 48.8068 | 4.6399
6 |  | WE11B-H2 |  | 05022022035 | UNK | 3.82 | [8 empty] | 11.8547 | 48.0316 | 4.725 | 0.37888 | 0.79297 | 0.073763
6 |  | WE11B-H3 |  | 05022022036 | UNK | 1.97 | [8 empty] | 12.3616 | 48.7724 | 4.6011 | 3.0877 | 1.6247 | 1.5897
1 | 21 | WE11B-S |  | 03242022022 | UNK | 2.73 | 5375246 | 66434576 | 12.091 | 55.3014 |  |  |  |  | 12.2079 | 54.0377 | 5.162
1 | 20 | WE12B-H |  | 03242022021 | UNK | 1.83 | 3088416 | 44044120 | 10.5205 | 54.8879 |  |  |  |  | 10.5496 | 53.7348 | 5.94
1 | 18 | WE12B-S |  | 03242022019 | UNK | 2.26 | 4139702 | 54748112 | 11.317 | 55.1329 |  |  |  |  | 11.3946 | 53.9157 | 5.518 | 10.9494 | 52.3581 | 5.578
6 |  | WE12B-S2 |  | 05022022041 | UNK | 2.01 | [8 empty] | 10.5223 | 50.7881 | 5.6288 | 0.43646 | 1.5639 | 0.055973
6 |  | WE12B-S3 |  | 05022022042 | UNK | 2.66 | [8 empty] | 10.9312 | 52.3705 | 5.5871 | 3.9862 | 2.9869 | 1.0035
3 | 12 | WE1B-H |  | 03302022015 | UNK | 1.65 | 2308832 | 32903564 | 8.5757 | 45.0643 |  |  |  |  | 8.8034 | 44.7641 | 5.9298
3 | 16 | WE1B-S |  | 03302022019 | UNK | 2.48 | 3971667 | 55875600 | 9.7208 | 50.4037 |  |  |  |  | 9.9683 | 50.1317 | 5.8648
5 |  | WE2B-H |  | 04292022027 | UNK | 2.81 | [8 empty] | 9.4448 | 50.5938 | 6.247
3 | 15 | WE2B-S |  | 03302022018 | UNK | 3.1 | 5598945 | 68322088 | 10.9201 | 49.1746 |  |  |  |  | 11.1933 | 48.9256 | 5.0973
3 | 40 | WE3B-H |  | 03302022043 | UNK | 0.75 | 1342973 | 15881702 | 11.1546 | 49.1052 |  |  |  |  | 11.4712 | 48.6219 | 4.943
3 | 39 | WE3B-S |  | 03302022042 | UNK | 2.03 | 3729281 | 43570168 | 11.1606 | 48.2128 |  |  |  |  | 11.4459 | 47.9278 | 4.8832 | 11.506 | 49.5804 | 5.0256
5 |  | WE3B-S2 |  | 04292022037 | UNK | 2.03 | [8 empty] | 11.7345 | 50.6137 | 5.03 | 0.2052 | 1.4461 | 0.14023
5 |  | WE3B-S3 |  | 04292022038 | UNK | 2.4 | [8 empty] | 11.3376 | 50.1996 | 5.1635 | 1.7834 | 2.9166 | 2.7904
3 | 38 | WE4B-H |  | 03302022041 | UNK | 2.39 | 3684985 | 55627200 | 9.3685 | 52.0726 |  |  |  |  | 9.6082 | 51.7911 | 6.2861 | 9.7198 | 54.0023 | 6.4785
6 |  | WE4B-H2 |  | 05022022013 | UNK | 4.36 | [8 empty] | 9.8447 | 54.723 | 6.4824 | 0.11879 | 1.9532 | 0.19059
6 |  | WE4B-H3 |  | 05022022014 | UNK | 3.43 | [8 empty] | 9.7064 | 55.4927 | 6.6672 | 1.2221 | 3.6169 | 2.9419
3 | 37 | WE4B-S |  | 03302022040 | UNK | 2.07 | 3560119 | 40497912 | 10.4556 | 44.0091 |  |  |  |  | 10.7237 | 43.7412 | 4.7568
3 | 36 | WE5B-H |  | 03302022039 | UNK | 1.68 | 2610114 | 33392138 | 9.4965 | 44.9007 |  |  |  |  | 9.7458 | 44.6036 | 5.3372
3 | 35 | WE5B-S |  | 03302022038 | UNK | 2.69 | 5089163 | 58823368 | 11.4497 | 48.8847 |  |  |  |  | 11.7374 | 48.6254 | 4.8312
3 | 33 | WE6B-H |  | 03302022036 | UNK | 3.66 | 5663917 | 77438720 | 9.3556 | 47.1421 |  |  |  |  | 9.5895 | 46.9118 | 5.7049
3 | 32 | WE6B-S |  | 03302022035 | UNK | 3.46 | 5863350 | 83496704 | 10.2415 | 53.7271 |  |  |  |  | 10.4973 | 53.4698 | 5.9402
3 | 31 | WE7B-H |  | 03302022034 | UNK | 3.47 | 4249723 | 76089392 | 7.4273 | 48.8661 |  |  |  |  | 7.6157 | 48.6262 | 7.4461
3 | 30 | WE7B-S |  | 03302022033 | UNK | 1.62 | 2760061 | 37287076 | 10.4025 | 51.8643 |  |  |  |  | 10.6743 | 51.5374 | 5.6305
1 | 28 | WE8B-H |  | 03242022029 | UNK | 2.42 | 3235270 | 52177868 | 8.3206 | 49.0909 |  |  |  |  | 8.3497 | 48.0178 | 6.7066
1 | 27 | WE8B-S |  | 03242022028 | UNK | 2.25 | 3809941 | 49822072 | 10.4857 | 50.4372 |  |  |  |  | 10.5466 | 49.3457 | 5.4564
1 | 26 | WE9B-H |  | 03242022027 | UNK | 2.33 | 4792242 | 57500332 | 12.6616 | 56.1421 |  |  |  |  | 12.7695 | 54.8909 | 5.0129
1 | 25 | WE9B-S |  | 03242022026 | UNK | 1.85 | 3497979 | 44183028 | 11.7385 | 54.4639 |  |  |  |  | 11.793 | 53.3188 | 5.2726
1 | 13 | WH10B-H |  | 03242022014 | UNK | 3.08 | 5391974 | 76643928 | 10.7497 | 56.4974 |  |  |  |  | 10.854 | 55.1789 | 5.9286
1 | 12 | WH10B-S |  | 03242022013 | UNK | 2.03 | 4828550 | 51053392 | 14.6404 | 57.2722 |  |  |  |  | 14.7663 | 56.0261 | 4.4247 | 12.6414 | 53.8087 | 5.0462
6 |  | WH10B-S2 |  | 05022022039 | UNK | 2.02 | [8 empty] | 12.6738 | 52.5623 | 4.8365 | 2.1412 | 1.9252 | 0.74863
6 |  | WH10B-S3 |  | 05022022040 | UNK | 4.11 | [8 empty] | 10.4842 | 52.8379 | 5.8773 | 16.9381 | 3.5778 | 14.8355
1 | 11 | WH11B-H |  | 03242022012 | UNK | 3.17 | 5223718 | 76422888 | 10.1252 | 54.736 |  |  |  |  | 10.2204 | 53.4592 | 6.0999
1 | 10 | WH11B-S |  | 03242022011 | UNK | 2 | 3830652 | 49958104 | 11.8587 | 56.8954 |  |  |  |  | 11.9284 | 55.6634 | 5.4419
1 | 9 | WH12B-H |  | 03242022010 | UNK | 1.94 | 2564827 | 42588344 | 8.3006 | 50.0823 |  |  |  |  | 8.2966 | 49.0395 | 6.8931
1 | 8 | WH12B-S |  | 03242022009 | UNK | 1.76 | 3165326 | 39065304 | 11.2018 | 50.6871 |  |  |  |  | 11.2371 | 49.6574 | 5.1534
5 |  | WH1B-H |  | 04292022025 | UNK | 3.2 | [8 empty] | 8.397 | 48.8342 | 6.7821
5 |  | WH1B-S |  | 04292022015 | UNK | 3.39 | [8 empty] | 11.828 | 50.419 | 4.9711
5 |  | WH2B-H |  | 04292022023 | UNK | 2.86 | [8 empty] | 10.2328 | 51.2565 | 5.8414
5 |  | WH2B-S |  | 04292022016 | UNK | 3.4 | [8 empty] | 10.8486 | 51.5634 | 5.5428
3 | 29 | WH3B-H |  | 03302022032 | UNK | 2.55 | 4360152 | 51830688 | 10.3663 | 45.523 |  |  |  |  | 10.6288 | 45.2708 | 4.967
3 | 28 | WH3B-S |  | 03302022031 | UNK | 2.2 | 4081239 | 46855444 | 11.2562 | 47.7795 |  |  |  |  | 11.5424 | 47.5049 | 4.7996
3 | 27 | WH4B-H |  | 03302022030 | UNK | 2.17 | 3174908 | 46073928 | 8.9107 | 47.6461 |  |  |  |  | 9.1411 | 47.3704 | 6.0433
3 | 26 | WH4B-S |  | 03302022029 | UNK | 1.88 | 3006901 | 40036044 | 9.7501 | 47.9152 |  |  |  |  | 10.0032 | 47.6221 | 5.5518
3 | 25 | WH5B-H |  | 03302022028 | UNK | 2.15 | 3090078 | 50564112 | 8.7573 | 52.6936 |  |  |  |  | 8.9842 | 52.3991 | 6.8016
3 | 24 | WH5B-S |  | 03302022027 | UNK | 1.84 | 3360631 | 40169008 | 11.1133 | 49.1161 |  |  |  |  | 11.3994 | 48.8161 | 4.994
3 | 23 | WH6B-H |  | 03302022026 | UNK | 2.21 | 3389238 | 48529828 | 9.3302 | 49.2336 |  |  |  |  | 9.5703 | 48.9543 | 5.9653 | 9.8305 | 49.6099 | 5.8896
6 |  | WH6B-H2 |  | 05022022015 | UNK | 2.09 | [8 empty] | 9.6662 | 49.9389 | 6.0249 | 0.37078 | 0.56777 | 0.1851
6 |  | WH6B-H3 |  | 05022022016 | UNK | 2.56 | [8 empty] | 10.255 | 49.9366 | 5.6787 | 3.7718 | 1.1445 | 3.1429
3 | 21 | WH6B-S |  | 03302022024 | UNK | 2.07 | 3554871 | 45811772 | 10.4404 | 49.6686 |  |  |  |  | 10.7081 | 49.3806 | 5.3778
3 | 20 | WH7B-H |  | 03302022023 | UNK | 1.65 | 2808559 | 35811572 | 10.3894 | 48.9498 |  |  |  |  | 10.6605 | 48.6358 | 5.3204
3 | 19 | WH7B-S |  | 03302022022 | UNK | 1.76 | 2962157 | 37601356 | 10.2626 | 48.1324 |  |  |  |  | 10.5293 | 47.8301 | 5.2975 | 10.9009 | 50.4534 | 5.3957
5 |  | WH7B-S2 |  | 04292022035 | UNK | 2.52 | [8 empty] | 11.1743 | 52.4408 | 5.4728 | 0.33353 | 2.3702 | 0.089577
5 |  | WH7B-S3 |  | 04292022036 | UNK | 2.65 | [8 empty] | 10.9991 | 51.0894 | 5.4168 | 3.0597 | 4.6979 | 1.6602
1 | 17 | WH8B-H |  | 03242022018 | UNK | 2.47 | 4055664 | 60670688 | 10.1501 | 55.8565 |  |  |  |  | 10.2172 | 54.5994 | 6.2319
1 | 16 | WH8B-S |  | 03242022017 | UNK | 2.06 | 4124874 | 56726428 | 12.3724 | 62.6528 |  |  |  |  | 12.4567 | 61.26 | 5.7351
1 | 15 | WH9B-H |  | 03242022016 | UNK | 2.37 | 3389243 | 52573120 | 8.887 | 50.503 |  |  |  |  | 8.9242 | 49.3973 | 6.4551 | 8.8666 | 50.0548 | 6.5838
6 |  | WH9B-H2 |  | 05022022037 | UNK | 4.58 | [8 empty] | 9.0015 | 51.3307 | 6.6501 | 0.17103 | 1.1051 | 0.11152
6 |  | WH9B-H3 |  | 05022022038 | UNK | 2.18 | [8 empty] | 8.6743 | 49.4364 | 6.6463 | 1.9289 | 2.2078 | 1.6939
1 | 14 | WH9B-S |  | 03242022015 | UNK | 2.32 | 4488345 | 63334580 | 11.9283 | 62.0591 |  |  |  |  | 12.0214 | 60.652 | 5.8838
1 | 66
1 | 75
2 | 144